## Sheet2 (2)
QUALCONN
RMC Plant Audit Checklist
1. General Information
Item | Description | Details | Remarks
1.1 | Name of Plant / Vendor
1.2 | Location / Address
1.3 | Date of Visit
1.4 | Visited by (Team Members)
1.5 | Plant In-charge / QA In-charge
1.6 | Approved Mixes / Grades
1.7 | Source of Approval of Aggregate
1.8 | Source of Approval of Cement
1.9 | Source of Approval of Admixture
1.1 | Source of Approval of GGBS
1.11 | Source of Approval of Fly Ash
1.12 | Source change re-approval and traceability
2. Plant Infrastructure
Item | Description | Compliance (Yes/No) | Remarks
2.1 | Batching capacity (m³/hr)
2.2 | Type of batching (Fully / Semi Automatic)
2.3 | Calibration status of batching plant (valid certificate)
2.4 | Cement storage silos – capacity, condition, moisture protection
2.5 | Aggregate bins – segregation, identification, protection from dust
2.6 | Water tank capacity & measurement system
2.7 | Admixture tanks – labelling, calibration, and MSDS availability
2.8 | Weighing systems (cement, water, aggregates, admixture) accuracy
2.9 | Power backup availability (DG set)
3. Material Quality and Storage
Item | Material | Observation | Remarks
3.1 | Cement (Make, Grade, Storage conditions)
3.2 | Fine Aggregate
3.3 | Coarse Aggregate
3.4 | Water
3.5 | Admixture
3.6 | Fly Ash / GGBS
4. Laboratory & Testing Facilities
Item | Description | Compliance | Remarks
4.1 | Availability of QC Lab at site
4.2 | Cube moulds (Condition, Identification, Calibration)
4.3 | Compression Testing Machine (CTM) – capacity, calibration certificate
4.4 | Sieve sets with labels and calibration status
4.5 | Slump cone, tamping rod, weigh balance, oven
4.6 | Test records (aggregate gradation, cement tests, cube results)
4.7 | Internal QA/QC team details (Qualification, Experience)
4.8 | Temperature Control facilities of Curing Tank
4.9 | Daily aggregate moisture record
4.1 | Aggregate grading and silt testing frequency verified
5. Production & Quality Control Process
Item | Description | Compliance | Remarks
5.1 | Approved mix designs with signed copies available
5.2 | Control of batching sequence and accuracy
5.3 | Slump verification procedure before dispatch
5.4 | Cube casting procedure & curing practices
5.5 | Record of rejected loads / returned concrete
5.6 | Frequency of calibration and preventive maintenance
5.7 | Process for handling customer complaints
5.8 | Concrete temperature during dispatch
5.9 | Admixture re-dosing register
5.1 | Delivery challan details (mix ID, time, slump, temp)
5.11 | QA documentation and record retention
5.12 | Staff training on IS 4926 and QA procedures
5.13 | Plant housekeeping
6. Documents Verification
Item | Description | Report Available ( Yes/No) | Remarks
6.1 | Calibration Certificates (Plant, Weighing, CTM)
6.2 | Material Test Certificates (Cement, Aggregates, Admixture)
6.3 | Mix Design Reports (Approved by consultant/client)
6.4 | Cube Test Reports
6.5 | Maintenance Records
6.6 | Safety Audit Reports
6.7 | NABL calibration certificate validity verified
6.8 | Calibration frequency and log records
6.9 | Admixture dosing system accuracy
6.1 | QC laboratory equipment calibration
6.11 | CAPA closure verification from previous audit
6.12 | Vendor internal audit
7. Observations & Recommendations
Sr. No. | Observation | Category (Critical / Major / Minor) | Corrective Action Required | Target Date
1
2
3
10. Final Remarks
Audit Score |  |  | Note : Audit Score will be based on above parameter from Sl No 02 to 07
Overall Assessment: ☐ Approved ☐ Needs Improvement ☐ Reject
Reviewed by: ____________________________
Signature: ____________________________
Date: ____________________________